Table 1: Preparation of a 10X primer for 200uL final volume

| Oligo (100uM stock) | Target concentration in 10X mix (uM) | Volume needed (uL) |
| --- | --- | --- |
| Zhang FIP | 16 | 32 |
| Zhang BIP | 16 | 32 |
| Zhang F3 | 2 | 4 |
| Zhang B3 | 2 | 4 |
| Zhang LF | 12 | 24 |
| Water | - | 104 |

Table 2: Preparation of  reaction master mix  1X and 10X reactions.

| Reagent | Volume in 1 reaction (uL) | Volume in 10 reactions (uL) |
| --- | --- | --- |
| WarmStart LAMP mix (2X) | 12.5 | 125 |
| Primer mix (10X) | 2.5 | 25 |
| Water | 2 | 20 |
| Template DNA | 8 | - |
| Total | 25 | 170 |

Table 3: Reaction Mix Preparation from the Fungiplex Ruo Kit  for PCR

| Reactants | X 1 (ul) |
| --- | --- |
| PCR Mix 50 | 10.0 |
| Universal mix | 1.0 |
| PCR H20 | 4.0 |
| Template DNA/Pos / Neg control | 5.0 |
| Total | 20.0 |